	[image: ]
	Requirement for oil transformer

	
	form L-EOB 001  

	Fills customer

	Basic informatorin
	Transformer type
	☐ Single-phase
	☐ Three-phase

	
	Purpose
	☐ Distributive  
	☐ Industrial
	☐ Dedicated

	
	Ambient conditions of the installation site
	☐ External  
	☐ Internal  
	☐ Tropical

	
	
	Ambient temperature _____ºC
	Ambijent humidity _____%   

	
	
	Elevation ______ m or lower

	
	Anti-corrosive protection
	
	
	
	

	
	Tehnical data
	Power
	Sn _____kVA

	
	
	Voltage
	Primary U1 ____ / ____kV
	Secondary U2 _____kV

	
	
	Frequency
	f _____Hz

	
	
	Winding coupling
	

	
	
	Idle losses
	P0 _____W  + 15%

	
	
	Short circuit losses
	Pk _____W  + 15 %

	
	
	Short circuit voltage
	uk _____%   ± 10%

	
	
	Degree of regulation
	Off-load tap changer
	☐ ± 2 x 2,5%
	☐ ± 3 x 5%

	
	
	
	
	☐ ± 7 x 1,15%
	☐ _______%

	
	Vassel construction
	Type
	☐ With a conservator
	☐ Hermetically sealed

	
	
	Cooling
	Naturally - ONAN

	
	Equipment
	Basic
	With a conservator
	Hermetically sealed

	
	
	☐ Wheel
	☐ Buholc relay
	☐ Integrated security shield

	
	
	☐ Oil drain valve
	☐ Oil level indicator
	☐ Overpressure valve

	
	
	☐ Other __________
	☐ Dehydrator
	☐ Oil level indicator

	
	
	☐ Other __________
	☐ Thermometer pocket
	☐ Thermometer pocket

	
	
	
	☐ Contact thermometer
	☐ Contact thermometer

	
	
	
	☐ Other __________
	☐ Oil filling pipe

	
	
	
	☐ Other __________
	☐ Other __________

	
	
	
	
	☐ Other __________

	
	Insulators
	☐ EN 50386
	☐ DIN 42530
	☐ Request __________

	Transport
	Transport through
	☐ Tropical area
	☐ Oversea
	☐ Continental

	
	Packaging
	☐ Palette
	☐ Other __________

	Test
	Type of test
	☒ Routine test - contains each transfomer

	
	
	☐ Type test

	
	
	☐ Special test

	Customer data
	Company name
	

	
	Address
	

	
	Phone / Fax
	

	
	e-mail
	

	
	Contact person
	

	Date: ___.___._____. year
	
	Request complied

	
	
	



	Completed by the manufacturer

	Query number
	

	Delivered
	☐ Sales sector
	☐ Commercial sector
	☐ Tehnical sector

	Date: ___.___._____. year
	Request processed
	Request approved
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